	Bias Tee [image: image1.png]Gwave



[image: image2.png]13,8

7,88

7,75

34,8

6.9





	[image: image2.png]

	30K-40GHz, 2.92mm Bias Tee,Rated To 500mA And 50 Volts DC
	Gbt-30K40g-292



Electrical Specifications










Frequency Range 
30KHz ~ 40GHz                              

Insertion Loss(dB) 
3

Input VSWR
1.7(Typ)
Output VSWR
1.7(Typ)

Isolation (dB)                          
38
RF Power Max.(W)
5
DC Voltage Max.(volts)                   
+50
DC Current Max.(mA)                      
500
Mechanical Specifications








        

Input /Output Connector Type           
2.92mm Female

DC Connector Type
2.92mm Female
Operating Temperature
-40℃~+85℃
Storage Temperature
-55℃~+100℃
Outline Drawing








    
        


Dimensions are in mm

Gwave Technology Inc.

Tel.: +86 10 86484190
Page

4th Floor,New Material Plaza,Yongfeng Hi-Tech Base,Haidian
Fax: +86 10 86484190-0
District,Beijing ,China(100094)   www.gwave-tech.com
email: gwave@gwave-tech.com
1 / 1

